## Slide 1: Ground water measurement using cosmic ray air shower
A. Taketa
ERI, UTokyo

## Slide 2: How we measure ground water
Direct sampling
  Local information
  Difficult to measure time variation
Electro magnetic survey
  Resistivity measurement
  Need a lot of hypothesis to get water contents
Reflection (GPL, artificial seismic wave)
  Water head
Water level of wells
  Water pressure
Gravity and its deviation
  Cannot distinguish large+far or small+near
Radiography! But…

## Slide 3: Muon radiography for small scale is difficult
20m w. eq.

## Slide 4: Radiographies
The holy grail
of geophysics
Air shower
(Electro-
magnetic
component)
There are missing ranges!
Photon(X-ray)
neutrino
muon
0.1 1 10 102 103 104 105 106 m
Polarization
EM field
Spin
Magnetism
Oscillation
Photography
Muography
Neutrinography

## Slide 5: What is the air shower? The entrance of the factory?
Cosmic ray collides to atmospheric nuclei
Generates secondaries
Secondaries collide to atmospheric nuclei
These secondaries are called as “air shower”
Air shower consists of hard component (muons) and soft component (electro-magnetic)

## Slide 6: Before AS radiography …
Particle identification required
It’s difficult for individual particle
  we need CMS or ATLAS
90% particles in air shower is the soft component
Lateral distribution of soft component and of hard component are different
Take coincident particle → 90%
Measure lateral distribution → 99% (statistically)

## Slide 7: Discrimination power
(MC result, ΔT<100ns, r<1m)
20m w. eq.

## Slide 8: What we can do：ground water stream
Rainfall disturbs gravitymeter and tiltmeter
  Variation of the total mass of the mountain
  Underground water stream
How can we compensate it?
  Difficult for muon radiography (10m scale)
  EM component is suitable for this range
  Observation vault

## Slide 9: Observation point Mt. Sakurajima
Pit inside
soil
Blid.
rock
Grav. meter

## Slide 10
Detector
1 unit
2 scintillator (100 x 7 x 2 )
2 PMT + attenuator
take coincidence
20cm 20 20
7

## Slide 11: Observation result (9days average)
30cm w. eq.
20% uncertainty

## Slide 12: Water tank calibration

## Slide 13: Converted to density length(9 days average)
Notes: Bin size , delay

## Slide 14: Hill scale hydrological process
Asano and Uchida., 2005 Environmental . Pollutution.

## Slide 15: Conclusion and prospect
I applied AS radiography to Hydrology
Detector upgrading
  Funded 