## Slide 1: Borehole Muography
1Earthquake Research Institute, the University of Tokyo, Japan
2National Research Institute for Earth Science and Disaster Prevention, Japan

## Slide 2: Purpose
Extension to the underground of MUOGRAPHY
Target : Fault zone structure
－position, strike, dip ,width, and density
→Prediction on seismic intensity
BOREHOLE MUOGRAPHY
There are boreholes near the fault
Fault
Detector
Typical surface detector cannot measure underground structures
because muons only come from the sky
How do we measure underground structure?
→Put a detector into underground
Atmosphere
p
μ
μ

## Slide 3: Development of a new method ＆ detector
Traditional detector
1m×1m×1m
→CANNOT be put into the borehole
good angular resolution ~ 1°
Muon
Scintillator
3
1m
1m
～10 cm
Borehole
・ New detector
4cm×7cm×70cm
Angular resolution ~30°
Need scanning in boreholes (rotation and up-down)
Zenith Z
X
Y
PMT
Only 2 coupled scintillators are used
We count when muons come common section
Notes: The problem is its Size of sci.

## Slide 4: Sensitivity of the detector
Detector
4
Zenith angle
Using this detector as a probe, we count muons as a function of depth and azimuthal angle
Two factors of sensitivity
・Shape of detector
Most sensitive from perpendicular to the detector’s section
・Angular distribution of muons
Most of muons come from vertical directions
Horizontal muons are absorbed by the ground
Perpendicular
to the section
Azimuth angle
Detector
Muons
Perpendicular
to the section
Borehole
Change depth
Change angle
Notes: シンチの絵 ボアホール内シンチ ボアホール内のシンチからsensitivityの輪 tilt
Sensitivityの図の中にボアホールの絵（軸

## Slide 5: Test observation at Yayoi well (borehole)
A
B
C
D
Does the detector have an ability
to measure the density deficit of
the low density area(Cavity) ?
20cm
Yayoi well, located in U Tokyo, was dug by Earthquake Research Institute in 1897.
～70m in depth
Well
Notes: Aerial photograph To test our detector and method, we performed test experiment at Yayoi well

## Slide 6: Observation
Interval : 10m
4 directions
Detector
Period ： March～April, 2013
Points ：
Depth=10m～60m at 10m intervals
4 directions at 45°intervals
Time ： about 24h at each point
Rods for directional control
Wire
C
A
D
B
200cm
12cm

## Slide 7: Result Does detector know the existence of cavity?
Cavity exists in the direction A from well
Counting rate A ＞ Counting rate B
Layer
2.0g/cc
Cavity
0.3g/cc
A
B
Cavity is detected！
Depth
Ratio
Notes: ボアホール作って装置から輪
First of all we want to know

## Slide 8: Analysis Result：Density
Depth
3.0
2.5
2.0
1.5
1.0
0.5
0
Estimating density of layers and cavity simultaneously
10m
10m
10m
50m
60°
Layers
Cavity(60°)
Cavity
0 10 20 30 40 50 60
Density )
Layer 2
300°
360°
360°
360°
360°
360°
Layer 1
Layer 3
Using all 24 data points

## Slide 9: Summary
We developed a new method and a detector
to measure the seismic fault zone from boreholes
Test observation at Yayoi well
  We measured density deficit
    Existence of cavity
    Density of cavity and layers

## Slide 10: Treatment of observation data
Data got by observation: Muon＋noise counting rate(/s)
→ True muon’s counting rate (/s)
Process1 Process2
Cut noise by energy loss revise detection efficiency in 100％
in the detector
Muon
Noise
Counts
Muon Events )
Depth
Pulse height
100％
Notes: We measure PMT pulse height to distinguish muon and noise

## Slide 11: Existence of cavity → Density of cavity
Layer-Cavity Model
Observation point according to depth and direction
Counting rate (Simulation) in the point
under the density model
： Counting rate (Observation) in the point
is optimum solution
・・・