## Slide 1
Nuclear emulsions techniques for muography
Cristiano Bozza1, Lucia Consiglio2, Nicola D'Ambrosio3, Giovanni De Lellis4, Chiara De Sio2, Seigo Miyamoto4, Ryuichi Nishiyama4, Chiara Sirignano5, Simona Maria Stellacci1, Paolo Strolin2, Hiroyuki Tanaka4, Valeri Tioukov2
University of Salerno and INFN1 University of Napoli and INFN2 INFN / LNGS3, Earthquake Research Institute of the University of Tokyo4 University of Padova and INFN5

## Slide 2
Nuclear emulsion detectors for muon radiography
Detectors are made of stacked emulsion films
Emulsion has no time resolution, no trigger: all tracks are recorded
m
m
e+e-
e+e-
e+e-
Emulsion films record hard tracks as well as soft tracks
3D information available for each track: momentum discrimination and/or particle id. possible!

## Slide 3
Nuclear emulsion images
1 μm
Charged particles ionize Ag atoms (stochastic process), producing the latent image
AgBr gel
Metallic Ag grows in filaments during development
With green-white light the average l is 600 nm: the filaments cannot be resolved because of diffraction
“Grains” = clusters of filaments

## Slide 4
Looking at emulsion films: basic optical setup
Emulsion film
Lamp (optionally w/ filters)
White, green or blue
Plastic base
Condenser lens
Illuminated spot
Objective lens (or lens system)
CMOS sensor

## Slide 5
Nuclear emulsion images
Imaging by objective + camera: the spatial density of metallic Ag is folded with the PSF (point-spread function), characterizing the optical setup
Y(x,y,z)
Focal plane
Out of focus
Out of focus
Typical grain size after development: 0.2÷1 μm
(0.5 μm in the case shown in this talk)
Grains in emulsion image: high-energy tracks, electrons, fog (randomly developed grains, not touched by any ionizing particle)
50 μm
Depth of field: ~3 μm

## Slide 6
Nuclear emulsion images
3D tomography: change focal plane
Alignment residuals of track grains: 50 nm in optical microscopy!
Good precision helps rejecting random alignments and thus keeps the signal/background ratio relatively high

## Slide 7
The European Scanning System (ESS)
Developed for OPERA, used in all European labs
Also installed at Tokyo ERI
Scanning speed: 20 cm2/h/side – 80 k€
CMOS camera 1280×1024 pixel 256 gray levels 376 frames/sec
XY stage 0.1 μm nominal precision
Emulsion Film
Z stage 0.05 μm nominal precision
Illumination system, objective (Oil 50× NA 0.85) and optical tube
The Quick Scanning System
Same mechanics, new hardware Scanning speed: 40~90 cm2/h/side – 20 k€
Aiming at 180 cm2/h with new stage drive
Installed in Salerno, Tokyo ERI
4 Mpixel camera, 400 fps
Double Frame grabber
New optics (20×)
Image processing and tracking by GPU
New motion control unit

## Slide 8
Tests on 8 GeV/c pion beams, 45 µm thick emulsion films
The ESS: current performances
Sy = 0
Sy = -0.180
Base-track
Microtrack
Notice: efficiency depends on emulsion quality!!!

## Slide 9
Tests on 8 GeV/c pion beams, 45 µm thick emulsion films
The ESS: current performances
Precision of film-to-film track connection
Sx = 0.025 Sy = 0
Sx = 0.600 Sy = -0.180
µm
µm

## Slide 10
Scanning microscope at work (QSS)
Same mechanics, new hardware, continuous motion Scanning speed: 40~90 cm2/h/side, aiming at 180 cm2/h with new stage drive
x
y
z
View #1
View #2
View #3
View #4
View #5
XY curvature
Z curvature
Z axis slant (X and Y)
XY trapezium
Magnification vs. Z
Corrections needed
Vibrations

## Slide 11
GTX 590
RAMDisk 32 GB
GTX 690
GTX 690
GTX 690
GTX 690
GTX 690
GTX 690
Final storage
NVidia GTX 590/690 hosted in microscope workstation
Temporary storage server Ensures constant flow
Manages job allocation
Dynamic reconfiguration
Tracking servers host 1 or 2 GTX 690 each
Data protocol: networked file system
Control protocol: HTTP + SAWI (Server Application with Web Interface)
Integrates web interface and interprocess communication
Scanning microscope and its backing data-processing system
Flexible platform: Tesla C2050, GTX780Ti, TITAN, TITAN/BLACK also used
ESS – 40 tracking cores/microscope
QSS – 18432 GPU cores/microscope

## Slide 12
Data quality of QSS
Image-to-image alignment results
mm
mm
XY precision: 0.12 mm

## Slide 13
Tests on pion beam, 32 µm thick emulsion films (originally 45 µm)
The QSS: current performances
Notice: efficiency depends on emulsion quality!!!
q(degrees)
j (degrees)
Angle(degrees)
Efficiency
j
q
Access to very wide angular regions with a single detector
Computational limit of ESS (previous system)
PRELIMINARY

## Slide 14
Muon detectors made with nuclear emulsion films
Discard soft component of cosmic rays (mostly e+e-)
Stack several films and require good alignment (< 10 µm)
Interleave films with iron or lead absorber slabs to stop electrons and soft muons
Iron
Investigating bulk regions of volcanoes
  Low muon flux
  Large areas required to collect statistically significant sample
  Modular structure repeated to increase detector area

## Slide 15
Muon detectors made with nuclear emulsion films
Data from emulsion exposed to cosmic rays include a soft component (soft muons + remnants of e.m. showers) – no time trigger!
Such tracks have high scattering (low momentum) and bremsstrahlung, but have more grains than minimum ionizing particle tracks
Apparently low efficiency: they cannot be easily followed from film to film in a stack using tight tolerances (20 mrad, 20 μm)
Applying tight cuts for base-tracks and to follow tracks from film to film reduces the efficiency, but actually filters out background of soft tracks, while only hard muons survive
Film #1 (2 sides)
Film #2 (2 sides)
Film #3 (2 sides)

## Slide 16
Muon detectors made with nuclear emulsion films
Stromboli: emulsion-based detector exposed 154 days
  22/10/2011 – 24/03/2012
10 modules of 10 «quadruplets» (1.2 m2)
Metal plates
of 5 mm (inox)
Envelopes with films
glued to the inox plate
Aluminum Frame
Elastic (rubber) layers

## Slide 17
Muon detectors made of nuclear emulsion
Pattern matching allows track connection from film to film
s=6 μm
μm
Position projection residuals of the same track in consecutive films after all corrections, including tracks of all momenta (films exposed at Unzen)
DY

## Slide 18
Muon detectors made of nuclear emulsion
Pattern matching allows track connection from film to film
Slope residuals of same track measured in consecutive films (emulsion films exposed at Unzen)
Slope close to 0: background due to shadowing effect of grains
Most such tracks are fake or Compton electrons
Slope
Slope residuals
Transverse direction
Longitudinal direction

## Slide 19
Muon detectors made of nuclear emulsion
Volcano profile and track counts from emulsion (Stromboli)
tan qx
tan qy
Flux (arbitrary units)
Stack tracks at Stromboli (3 out of 4 films)

## Slide 20
Post-processing steps consist of pattern matching to filter out instrumental fakes and soft tracks
Data processing for muon radiography
Image acquisition
3 TB/film (120 cm2)
Microtracks
30 GB/film (120 cm2)
Filtered microtracks (coincidence) 1.5 GB
Stack tracks 400 MB / quadruplet
Full detector (1 m2) 40 GB
Next generation detectors (10100 m2) 4004000 GB
Needs:
Fresh emulsion films
Faster automatic microscopes
Larger processing power
(Possibly) Larger storage

## Slide 21
Simulation of muon data from nuclear emulsion
Average flux models used so far
High elevation and small rock thickness: OK
  many relatively soft muons
Low elevation and big rock thickness: large systematic errors (factor 10?)
  formulae extrapolated
  few hard muons
  statistical fluctuations
  need to model well the “knee” region in primary cosmic rays
Next step: use full simulation of muon production and propagation in atmosphere

## Slide 22
Simulation of muon data from nuclear emulsion
Continuous Slowing Down Approximation used so far
  OK for high flux, small rock thickness
  Statistical fluctuations matter for low flux, large rock thickness region
  Muon direction change neglected
  Bremsstrahlung and EM showers accompanying hard muons neglected
Next step: simulate passage of muons through rock (GEANT4)
  Very heavy computation load!!!
Needs:
Larger computing power
Manpower effort to develop new software

## Slide 23
1 GeV
5 GeV
10 GeV
10 GeV
100 GeV
1 TeV
Detailed simulation by GEANT4 of muon processes in rock layers
Multiple scattering
Bremsstrahlung
Nuclear processes
Work out energy loss and direction change for sample energies
Build analytic approximations including correlations
Plug into absorption map computation
software
Simulation of muon data from nuclear emulsion

## Slide 24
Conclusions
Muography triggered speed-up of existing automatic microscope systems
Muography requires large computation power already at early stages in data acquisition
Emulsion data are capable of high angular precision
Critical: rejection of soft component of muon-induced showers
Dedicated simulation software developed to work out the absorption map from emulsion data
Improved simulation of cosmic rays needed to reach low elevation regions
In-progress: simulation of muon processes beyond the “CSDA” approximation to improve extraction of density maps from flux maps
Next generation of muographic exposure will need 10100× statistics, but thanks to new technologies cost increase will not scale linearly
Thank you for your attention!